## Sheet1
Discontinued Products / Product Changes
|  |  | Discontinued item |  |  |  | New item
Date actioned | Medical / Telematics | Product update type | Manufacturer | Master Product | Part Number | Item description | Manufacturer | Master Product | Part Number | Item description
2022-02-16 | Medical | Product Superseded | GS corpuls | C3 | 04190.5050DA | Set Display Jog dial corpuls PCB505 | GS corpuls | C3 | 04190.5050DC | Set Display Jog dial corpuls PCB505
2022-02-16 | Medical | Product Superseded | GS corpuls | C3 | S04150.5060HA | Display Front board PCB506 | GS corpuls | C3 | S04150.5060HC | Display Front board PCB506
2021-07-27 | Medical | Product Superseded | GS corpuls | C3 | 60346.0001 | PowerPort 12V (for charging bracket) | GS corpuls | C3 | S60346.10112 | Set Power Port 12V (for Charging Bracket)
2021-07-27 | Medical | Product Superseded | GS corpuls | C3 | 04346.AA | Set MagCode connector panel Defib Unit SLIM, complete | GS corpuls | C3 | 04390.04386AA | Set MagCode connector panel Defib Unit SLIM, complete
2021-05-26 | Medical | Product Superseded | GS corpuls | C3 | 4324.3 | corPatch easy - defibrillation/pacing electrodes with cable | GS corpuls | C3 | 4324.3 | corPatch easy - defibrillation/pacing electrodes with cable (Box of 10 pieces)
2021-05-26 | Medical | Product Superseded | GS corpuls | C3 | 4324.4 | corPatch standard - defibrillation/pacing electrodes with cable | GS corpuls | C3 | 4324.4 | corPatch standard - defibrillation/pacing electrodes with cable (Box of 10 pieces)
2021-05-26 | Medical | Product Superseded | GS corpuls | C3 | 5120.1 | corPatch easy pre-connected | GS corpuls | C3 | 5120.1 | corPatch easy pre-connected (Box of 10 pieces)
2021-05-26 | Medical | Product Superseded | GS corpuls | C3 | 5120.2 | corPatch easy Pediatric | GS corpuls | C3 | 5120.2 | corPatch easy Pediatric (box of 10 pieces)
2021-05-26 | Medical | Product Superseded | GS corpuls | C3 | 5120.3 | corPatch easy Pediatric extended | GS corpuls | C3 | 5120.3 | corPatch easy Pediatric extended (box of 10 pieces)
2021-05-26 | Medical | Product Superseded | GS corpuls | C3 | 4235.2 | corPatch easy Pediatric extended | GS corpuls | C3 | 4235.2 | corPatch easy Pediatric extended (box of 10 pieces)
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 01220 | 3-pole ECG patient cable 2,5 m
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 01220.2 | 3 pole ECG patient cable for premature babies, toddlers and children, 2.5 m
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 02122 | 4 pole ECG patient cable 2,5m
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 02122.2 | 4 pole ECG patient cable f.premature infant, infant,child 2,5 m
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 02122.9 | 4 pole ECG cable 2.5 m (only for 3 pole simulators)
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 02123 | 6 pole ECG diagnostic cable (additional)
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 02123.1 | 6 pole ECG diagnostic cable (additional) w/o C1-C6
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 02125 | Defi/stim. twin cable
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 02125.1 | Defib.-/pacer cable code blue CD/0816
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 02125.4 | Defi/stim. twin cable with connector for Physio-Control-Pads
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 02125.41 | Defi/stim. twin cable with connector for Physio-Control-Pads
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 02125.5 | Defi/stim. twin cable with connector for Schiller/Bruker-Pads
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 02128.97 | NIBP-adapter-hose (14 cm) for disposable cuff adult/child
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 03125.00099 | NIBP-car extension kit including instructions
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 03125.100 | 4 pole ECG-car roof extension cable 6,0 m 08/16
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 03125.1000 | 4 pole ECG-car roof extension cable 7,5 m 08/16
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 03125.20 | 6 pole ECG-car roof extension cable 08/16 4.5m
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 03125.200 | 6 pole ECG-car roof extension cable 6,0 m 08/16
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 03125.310 | MASIMO® SpO2-car roof extension cable 6,0 m
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 03125.400 | Temperature-car roof extension cable 6,0 m 08/16
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 03125.41 | Temp.-intermediate cable N4940/YSI400 for skin sensor
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 03125.61 | BCI/MCC Car roof interface for 3 or 4 & 6 pole ECG cable SpO2, NIBP & Temp
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 03125.611 | NIBD connection tube for roof
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 03125.62 | MASIMO® Car roof interface for parameters 3 or 4 & 6 pole ECG cable, SpO2, NIBP & TEMP
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 03125.7 | NIBP-connection tube for Wall/Unit
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 03125.8 | ECG-M-socket for 4 pole car roof extension cable
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 03127.0 | BCI SpO2- intermediate cable for fingersensor
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 03128.0 | MASIMO® SpO2-intermediate cable 08/16 2,4 m (Flex plug)
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 03128.010 | MASIMO® SpO2 intermediate cable w/o plug, D4.2mm(0.165
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 03128.04 | MASIMO® SpO2 intermediate cable 08/16 2,4 m (Sub-D)
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 03200 | Charging bracket LK 08/16 230V/12-28V
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 03200.5 | Wall adapter plate LK08/16E 12-28 V DC
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 03200.6 | Adapter for crash carts or static wall mount for corpuls 08/16E
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 03201 | Charging bracket LK 08/16 230V/12-28V with RS-232-Interface
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 03206 | Power supply 230V with magnet locking
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 04120 | Battery corpuls³ (Li-Ion)
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 04120.22 | Battery corpuls³/corpuls¹ (Li-Ion) with heater
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 04222.3 | 4-pole ECG monitoring cable for neonate c³ 2.0 m, with 4 mm connector Code ERC
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 04223.3 | 6-pole ECG monitoring cable for neonate c³ 2.0 m, with 4 mm connector Code ERC
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 04228.0 | MASIMO® SpO2 intermediate cable corpuls³ 1.2 m (9p. Sub-D)
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 04228.02 | MASIMO® SpO2 intermediate cable corpuls³ 3 m (Sub-D)
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 04233.0 | IBP adapter intermediate cable corpuls³ ODU-socket 0.20m
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 04233.20 | IBD-Adapterkabel 1-fach B.Braun Combitrans m. ODU-
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 04324.6000CA | Intermediate cable Philips/Laerdal for corPatch easy adults / Can only be used in combination with devices MRx and FR2
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 04324.6010CA | Intermediate cable Zoll for corPatch easy adults
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 04324.6020CA | Intermediate cable Physio Control/Weinmann for corPatch easy adults / Can only be used in combination with devices LP12 and LP15
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 04324.6041CA | Intermediate cable Schiller FRED easy for corPatch easy adults. Can only be used in combination with device FRED easy
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 04324.6070CA | Intermediate cable Philips/Laerdal for corPatch easy adults / Can only be used in combination with devices MRx and FR2
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 04324.7010AA | Therapy adapter cable corpuls³ for ZOLL Legacy, CPR-D, Stat Padz II, Pedi Padz II, CPR Stat Padz and One Step therapy electrodes
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 04324.7020 | Intermediate cable corpuls³ for Physio Control Quik-Combo electrodes. Only to be used with corpuls³ with SW-Version 1.9.0 or higher.
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 04324.7020BA | Intermediate cable corpuls³ for Physio Control Quik-Combo electrodes. Only to be used with corpuls³ with SW-Version 1.9.0 or higher.
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 04400.002 | Charging bracket Defib c³, cable 1.5m, Cannon plug
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 04400.003 | Charging bracket Defibrillator/Pacer unit with MagCodePro cable length 1.5 m
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 04400.005 | Charging bracket Defibrillator/Pacer unit, cable length 2.5 m, Amphenol MIL connector
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 04400.02 | Charging bracket Defibrillator/Pacer unit 12 V DC cable length 0.25 m
2021-05-26 | Medical | Discontinued | GS corpuls | C3 | 04400.041 | Charging bracket Defibrillator/Pacer unit with Molex plug cable length 2.0 m
2021-05-19 | Medical | Part Number Update | GS corpuls | C3 | 4229.77 | Disposable Cuffs | GS corpuls | C3 | 98-0400-0A | Disposable Cuffs
2021-05-19 | Medical | Part Number Update | GS corpuls | C3 | 4229.72 | Disposable Cuffs | GS corpuls | C3 | 98-0400-01 | Disposable Cuffs
2021-04-21 | Medical | Product Change - see details | GS corpuls | C3 / C1 | 04310 | Test box for defibrillator/pacer unit SLIM corpuls3 and corpuls1 | GS corpuls | C3 / C1 | 04312 | Testload
2021-04-21 | Medical | Product Change - see details | GS corpuls | C3 | 04402.1 | Mounting Patient box without power supply
2021-04-21 | Medical | Product Change - see details |  |  |  |  | GS corpuls | C3 | 04403.12 | Adapter plate Mounting Patient box
2021-04-14 | Medical | Product Superseded | GS corpuls | C3 | 04152.2DA | Set Printer chassis compl.. incl. driven paper roller. Assembly | GS corpuls | C3 | S04152.2CA | Set Printer chassis compl.. incl. driven paper roller. assembl.
2021-04-14 | Medical | Product Superseded | GS corpuls | C3 | 04190.04152BA | Set Printer lid complete incl. unlocking device. pre-assembled | GS corpuls | C3 | 04190.04152CA | Set Printer lid complete incl. unlocking device, pre-assembled
2021-04-14 | Medical | Product Superseded | GS corpuls | C3 | 04229.76 | NIBP disposable cuff adult. upper arm range 23 - 33 cm. dark-blue. latex-free (box of 20 pcs.) | GS corpuls | C3 | 04229.77 | NIBP disposable cuff 'Prime Cuff', upper arm range 28 - 40 cm, dark-blue, latex-free (box of 20 pcs
2021-04-14 | Medical | Product Superseded | GS corpuls | C3 | 04229.78 | NIBP disposable cuff 'oversize adult'. upper arm range 31 - 40 cm. burgundy. latex-free (box of 20 pcs.) | GS corpuls | C3 | 04229.77 | NIBP disposable cuff 'Prime Cuff', upper arm range 28 - 40 cm, dark-blue, latex-free (box of 20 pcs
2021-04-14 | Medical | Product Superseded | GS corpuls | C3 | 04227.0 | MASIMO SpO2/CO/Met (Rainbow) intermediate cable corpuls3/corpuls1 1.20 m (20p/15p) for connection to 04225.xx. 04226.xx. 04227.xx sensors | GS corpuls | C3 | 04227.012 | MASIMO EMS Sp02/CO/Met (Rainbow) Intermediate Cable corpuls3/corpuls1 1.20m 20p/15p
2021-04-14 | Medical | Product Superseded | GS corpuls | C3 | 04383.AA | Handle Defibrillator Unit SLIM. complete | GS corpuls | C3 | S04383.AA | Handle Defibrillator Unit SLIM. complete
2021-04-14 | Medical | Product Superseded | GS corpuls | C3 | 05120.2 | corPatch easy Paediatric | GS corpuls | C3 | 05120.3 | corPatch easy Paediatric extended (36 month)
2021-04-14 | Medical | Part Number Update | GS corpuls | C3 | 04229.XX | Cuffs | GS corpuls | C3 | 04229.XX.AA | Cuffs
Note on K9: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Item code remains the same but configuration of packaging now includes 10 units. Price lists will be updated.
Note on K10: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Item code remains the same but configuration of packaging now includes 10 units. Price lists will be updated.
Note on K11: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Item code remains the same but configuration of packaging now includes 10 units. Price lists will be updated.
Note on K12: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Item code remains the same but configuration of packaging now includes 10 units. Price lists will be updated.
Note on K13: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Item code remains the same but configuration of packaging now includes 10 units. Price lists will be updated.
Note on K14: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Item code remains the same but configuration of packaging now includes 10 units. Price lists will be updated.
Note on K73: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: TESTLOAD (04312) only allows TEST SHOCK only. Please order PN 04311.AA CORPULS SIMULATOR for more advanced testing; Shocks, ECG, VF etc.
Note on G74: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: CHANGED - NOT DISCONTINUED. The Mounting Patient box without power supply (04402.1) will no longer be delivered including the adapter plate. See NEW item below for ordering Adapter plate separately. If the patient box needs to be attached to a standard rail, the Adapter plate Mounting Patient box (04403.12) as well as a suitable adapter, Adapter clamp for standard rails (04415.1) can be ordered separately.
Note on K75: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The Mounting Patient box without power supply above (04402.1) will no longer be delivered including the adapter plate. If the patient box needs to be attached to a standard rail, the Adapter plate Mounting Patient box (04403.12) as well as a suitable adapter, Adapter clamp for standard rails (04415.1) can be ordered separately.